| Date inspected: By: | Treatment ID/Name: With: |
| --- | --- |
| What disinfectant is used? Disinfectant feed rate: Water flow rate: gpm Calculated disinfectant feed rate: mg/l Measured disinfectant residual at EP: mg/l free mg/l total What model residual test kit is being used? For Liquid Hypochlorination Pump model: Settings: Stroke Speed Vat size: Solution strength | Photos |
| *Is disinfectant NSF approved? Is chlorine residual test kit used and approved method? *Is chlorine residual within range: 0.2 mg/l < X < 4.0 mg/l *Is chlorine residual checked daily and recorded? Is amount of disinfectant used compared to water pumped to verify concentration? Is chemical storage adequate and safe? Is disinfection equipment being operated and maintained properly? Is operational standby equipment provided? If not, are critical spare parts on hand? Has disinfection system been free from failure during the past year – no interruptions? | Y N Unk N/A □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ |  |
| Notes: |  |