| Date inspected: By: | Pump ID/Name: With: |
| --- | --- |
| Number of pumps Type (centrifugal close coupled, etc): Capacity: Controlled by: | Photos |
| Are pump(s) operable? Is redundancy provided? Is the site protected against trespass/vandalism? Records maintained? Property maintained? Pump flow metered? Cross connections eliminated? FOR BOOSTER PUMP STATIONS Each pump have a standard P gauge on discharge side? Each pump have a compound P gauge on suction side? For boosters on suction lines directly connected to storage reservoirs, is there an automatic cutoff for suction pressure <= 2.5 psi? | Y N Unk N/A □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ |  |
| Notes: |  |