| Date inspected: By: | Storage ID/Name: With: |
| --- | --- |
| Storage volume gallons Dimensions: Year constructed: | Photos |
| Does surface runoff and underground drainage drain away? Is the site protected from flooding? Is the site protected against trespass/vandalism? Is the tank inspected every 5 years by a structural engineer for structural integrity? Date of inspection ________________________________ By whom? ______________________________________ Condition as reported: GOOD Ladders caged and locked? Are overflow lines, air vents, drainage lines or clean out pipes turned downward or covered, screened and terminated a minimum of 3 diameters above the ground or storage tank surface? Overflow pad present? Is access hatch sealed properly and locked? Are surface coatings in contact with water ANSI/NSF approved? Is tank protected against corrosion? Can tank be isolated from the system? When was the last time the tank was cleaned? | Y N Unk N/A □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ |  |
| Notes: |  |